PLU HOT WORK PERMIT

| Hot Work Permit #: | Date of Issue: |  | Person Completing Hot Work Permit: |
| --- | --- | --- | --- |
| Company Name (if contractor): |  |  |  |
| Foreman/Supervisor: |  | Emergency Contact Number: |  |
| Phone Number: |  | Hours of Operation: |  |
| Location of Site Where Work is to be Performed:  Inside  Outside ____________________________________________________________________________________ ____________________________________________________________________________________ ____________________________________________________________________________________ |  |  |  |
| Description of Work to be Performed: ____________________________________________________________________________________ ____________________________________________________________________________________ ____________________________________________________________________________________ ____________________________________________________________________________________ |  |  |  |
| Equipment to be Used:  Electric Arc  Acetylene Generator  Other _______________  Calcium Carbide  Gas Cylinders |  |  |  |
| Fire Alarm & Detection System Impairment Required?..……………………………..  Yes  No Cylinder Storage Required? …………………………………………………………..  Yes  No  Inside  Outside |  |  |  |
| Welding/cutting operations shall be performed in accordance with the requirements established by OSHA, NFPA 51B Standards, and PLU Health & Safety Manual. Compliance with all requirements established in the documents listed in the PLU Health & Safety Manual and Contractor Safety Guide shall be the responsibility of all personnel performing welding/cutting operations. Dir. Facilities Management - x7380 Emergency Phone Number - x7911 Dir. EHS&EP - x7233 Dir. Const. Management - x8780 |  |  |  |
| Inspection Date: |  | Inspection time: |  |
| Construction Superintendent or Dir. EHS&EP Signature: |  | Hot Work Supervisor’s Signature: |  |

This Hot Work Permit is valid for 12 hours

*     Hot Work Permit is required for any operation involving open flames or producing heat / sparks and must

be completed by a Hot Work Supervisor (HWS) and posted at the site.

**   If the required precautions checklist cannot be met, Hot Work is not permitted.

*** Designated Building Fire Watch mandatory when Fire Alarm and/or Smoke-Heat Detection System deactivated.

REQUIRED PRECAUTIONS CHECKLIST Hot Work Supervisor verifies that the following precautions are taken. Fire Systems and Equipment  Available sprinklers, hose streams and extinguishers are in service / operable.  Hot Work equipment in good repair. Requirements within 35 ft of work  Flammable liquids, dust, lint and oily deposits removed.  Explosive atmosphere in area eliminated.  Floors swept clean.  Combustible floors wet down, covered with damp sand or fire-resistive blankets.  Remove other combustibles where possible. Otherwise protect with fire-resistive tarpaulins or metal shields.  All wall and floor openings covered. - Fire-resistive tarpaulins suspended beneath work. - Protect or shut down ducts and conveyors that might carry sparks to distant combustibles. Work on walls or ceilings  Construction is noncombustible and without combustible covering or insulation.  Combustibles on other side of walls, ceilings or roofs moved away. Work on enclosed equipment  Enclosed equipment cleaned of all combustibles. - Containers purged of flammable liquids/vapors. - Pressurized vessels, piping and equipment removed from service, isolated and vented. Fire Watch/Hot Work Area Monitoring  Fire watch will be provided during and for 30 minutes after work, including any coffee or lunch breaks.  Fire watch is supplied with suitable fire extinguishers.  Fire watch is trained in use of this equipment and in sounding alarm.  Fire watch may be required for adjoining areas, above, and below.  Monitor Hot Work area for 30 minutes after job is completed. Other Precautions Taken  Multiple fire watches may be necessary if direct observation is not possible due to walls, ceilings, floors, or partitions