PLU HOT WORK PERMIT

| Hot Work Permit #: | Date of Issue: | Person Completing Hot Work Permit: |
| --- | --- | --- |
| Company Name (if contractor): |
| Foreman/Supervisor: | Emergency Contact Number: |
| Phone Number: | Hours of Operation: |
| Location of Site Where Work is to be Performed: ( Inside ( Outside ____________________________________________________________________________________ ____________________________________________________________________________________ ____________________________________________________________________________________ |
| Description of Work to be Performed: ____________________________________________________________________________________ ____________________________________________________________________________________ ____________________________________________________________________________________ ____________________________________________________________________________________ |
| Equipment to be Used: ( Electric Arc ( Acetylene Generator ( Other _______________ ( Calcium Carbide ( Gas Cylinders |
| Fire Alarm & Detection System Impairment Required?..…………………………….. ( Yes ( No Cylinder Storage Required? ………………………………………………………….. ( Yes ( No ( Inside ( Outside |
| Welding/cutting operations shall be performed in accordance with the requirements established by OSHA, NFPA 51B Standards, and PLU Health & Safety Manual. Compliance with all requirements established in the documents listed in the PLU Health & Safety Manual and Contractor Safety Guide shall be the responsibility of all personnel performing welding/cutting operations. Dir. Facilities Management - x7380 Emergency Phone Number - x7911 Dir. EHS&EP - x7233 Dir. Const. Management - x8780 |
| Inspection Date: | Inspection time: |
| Construction Superintendent or Dir. EHS&EP Signature: | Hot Work Supervisor’s Signature: |

This Hot Work Permit is valid for 12 hours

*     Hot Work Permit is required for any operation involving open flames or producing heat / sparks and must

be completed by a Hot Work Supervisor (HWS) and posted at the site.

**   If the required precautions checklist cannot be met, Hot Work is not permitted.

*** Designated Building Fire Watch mandatory when Fire Alarm and/or Smoke-Heat Detection System deactivated.

REQUIRED PRECAUTIONS CHECKLIST Hot Work Supervisor verifies that the following precautions are taken. Fire Systems and Equipment ( Available sprinklers, hose streams and extinguishers are in service / operable. ( Hot Work equipment in good repair. Requirements within 35 ft of work ( Flammable liquids, dust, lint and oily deposits removed. ( Explosive atmosphere in area eliminated. ( Floors swept clean. ( Combustible floors wet down, covered with damp sand or fire-resistive blankets. ( Remove other combustibles where possible. Otherwise protect with fire-resistive tarpaulins or metal shields. ( All wall and floor openings covered. Fire-resistive tarpaulins suspended beneath work. Protect or shut down ducts and conveyors that might carry sparks to distant combustibles. Work on walls or ceilings ( Construction is noncombustible and without combustible covering or insulation. ( Combustibles on other side of walls, ceilings or roofs moved away. Work on enclosed equipment ( Enclosed equipment cleaned of all combustibles. Containers purged of flammable liquids/vapors. Pressurized vessels, piping and equipment removed from service, isolated and vented. Fire Watch/Hot Work Area Monitoring ( Fire watch will be provided during and for 30 minutes after work, including any coffee or lunch breaks. ( Fire watch is supplied with suitable fire extinguishers. ( Fire watch is trained in use of this equipment and in sounding alarm. ( Fire watch may be required for adjoining areas, above, and below. ( Monitor Hot Work area for 30 minutes after job is completed. Other Precautions Taken ( Multiple fire watches may be necessary if direct observation is not possible due to walls, ceilings, floors, or partitions